Behind the Meter: Quantifying GB Embedded Renewable Impact, Duck Curve Dynamics & System Flexibility Pressures Prepared by: Muhammad Danish Dataset: NESO HalfHourly Electricity Data 2025 Tool: Microsoft Power BI

2. Project Concept / Executive Summary

This project uses NESO's half hourly electricity outturn dataset to tell a single, coherent operational story about how embedded renewable generation is fundamentally reshaping GB's transmission level demand profile and what that means for the system's flexibility needs.

The analysis reconstructs GB's true gross underlying demand by adding back estimated embedded wind and solar generation to transmission metered National Demand (ND). It then quantifies how that suppression effect varies by time of day, season, and day type; measures the capacity factor performance of embedded assets; characterises the resulting duck curve in residual demand; identifies the ramp rate stress events this creates; and contextualises the system’s flexibility response through interconnector flows and pump storage behaviour.

The entire analysis is built within Power BI using only the 22 columns provided in the NESO dataset. No external data, no weather data, no price data, no invented assumptions.

# 3. Business Problem

Transmission metered National Demand (ND) systematically understates the true electricity consumption of GB consumers. This happens because embedded wind and solar generation connected at distribution level rather than transmission level offsets local demand before it reaches transmission metering. NESO estimates this generation and publishes it separately, but many analyses work from ND alone, producing a biased picture.

As embedded solar and wind capacity grows rapidly, the gap between measured ND and true underlying demand widens. More importantly, the intraday shape of ND is changing midday ND is increasingly suppressed by solar generation, then recovers steeply in the evening as solar output drops. This creates the characteristic ‘duck curve’ shape that is now a defining operational feature of the GB system.

Without quantifying this effect at half hourly resolution, demand forecasters, flexibility providers, capacity market participants, and asset managers risk working from a systematically distorted view of when the system is tight, when flexibility is most needed, and how efficiently distributed assets are actually performing.

# 4. Business Context

GB's electricity system has seen substantial growth in embedded (distribution connected) renewable generation, particularly solar PV and onshore wind. Unlike transmission connected generation which is metered at the boundary embedded generation is estimated by NESO using capacity data and modelled profiles rather than direct measurement.

NESO publishes these estimates alongside its half hourly operational data, including separate columns for embedded wind and solar generation and their respective capacities. This creates a unique analytical opportunity: the gap between what consumers use and what the transmission system records can be quantified, profiled, and analysed at settlement period resolution.

The half hourly resolution is essential to this analysis. Daily or monthly aggregates hide the intraday shape change that embedded solar drives: the sharp midday trough in ND and the steep evening ramp as solar falls to zero. These patterns have direct implications for how the system is balanced, what flexible generation products are most valuable, and when system stress occurs which may now differ significantly from traditional assumptions about peak demand timing.

# 5. Business Impact

- Demand Forecasters & System Analysts gain a transparent, data driven view of how much true underlying consumption is masked by embedded generation enabling more accurate interpretation of ND and TSD figures.

- Flexibility & Storage Developers gain quantified identification of the ramp rate stress periods where fast response flexibility is most needed, supporting investment and dispatch decisions.

- Capacity Market Participants get an updated evidence base for when peak residual demand actually occurs, which may differ significantly from traditional colddarkevening assumptions.

- Embedded Generation Asset Managers can benchmark wind and solar capacity factor performance across settlement periods and seasons, without requiring price or weather data.

- Energy Consultants & Regulators receive a reproducible, transparent analysis of how distributed generation is changing GB’s operational demand profile, supporting policy and network planning discussions.

# 6. Project Objective

To build a five page Power BI dashboard using only NESO’s half hourly operational dataset that:

- Quantifies the magnitude, timing and seasonality of demand suppression caused by embedded wind and solar generation.

- Reconstructs GB’s gross underlying demand and characterises how its daily and seasonal profile compares to transmission metered ND.

- Measures embedded wind and solar capacity factor performance by settlement period, season, and day type.

- Identifies the steepest intraday ramp events in residual demand and maps when they occur across the year.

- Contextualises how net interconnector flows and pump storage activity relate to identified ramp stress periods, as a supporting observational layer.

# 7. Key Business Questions

| # | Business Question |
| --- | --- |
| Q1 | How much demand does embedded generation suppress from transmission metering, and when is this effect largest? |
| Q2 | What does GB’s gross underlying demand look like compared to metered ND, by time of day and season? |
| Q3 | How are embedded wind and solar assets performing (capacity factor) across settlement periods and months? |
| Q4 | When and where are the steepest intraday ramps in metered ND, and how severe are they by season? |
| Q5 | Are there periods when embedded renewable generation approaches a substantial share of gross underlying demand? |
| Q6 | How does the pattern of net interconnector imports and pump storage activity relate to identified rampstress periods? |
| Q7 | How does the England & Wales demand share of total GB ND vary by time of day and season? |

# 8. Core Analysis

## 8a. Demand Suppression Analysis

- Calculate Gross Underlying Demand = ND + EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATION for every half hourly record.

- Calculate Suppression Volume (MW) = EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATION.

- Calculate Suppression Ratio (%) = Suppression Volume / Gross Underlying Demand.

- Profile suppression by settlement period (1–48), month, season, and day type (weekday vs weekend).

- Identify the settlement periods and months with peak suppression volumes.

## 8b. Net Demand Profile & Duck Curve Characterisation

- Plot average ND by settlement period for each season to reveal and compare the emerging duck curve shape.

- Overlay gross underlying demand profile on the same chart to make the suppression gap visually explicit.

- Identify minimum ND settlement periods (oversupply risk) and peak ND settlement periods by month.

- Compare weekday versus weekend duck curve profiles to show how behavioural demand shapes the residual.

## 8c. Embedded Asset Capacity Factor Analysis

- Wind Capacity Factor = EMBEDDED_WIND_GENERATION / EMBEDDED_WIND_CAPACITY for each settlement period.

- Solar Capacity Factor = EMBEDDED_SOLAR_GENERATION / EMBEDDED_SOLAR_CAPACITY for each settlement period.

- Produce heatmaps of both capacity factors by settlement period × month to reveal diurnal and seasonal patterns.

- Compare the contribution patterns of wind (continuous, variable) vs solar (strongly diurnal and seasonal).

- Identify which settlement periods and seasons show highest and lowest capacity factor utilisation.

## 8d. Ramp Rate Analysis & Stress Period Identification

- Calculate halfhourly ramp rate = ND(period t) – ND(period t−1) using DAX window function logic.

- Identify top ramp events: the largest positive ramps indicating steepest evening recovery.

- Map ramp events by settlement period, month, and season to show seasonal patterns in stress timing.

- Calculate average positive ramp rate by settlement period to reveal the typical evening stress window.

- Report the top 20 ramp events as a ranked table (date, settlement period, ramp rate, season).

## 8e. Flexibility Context (Supporting Observational Layer)

- Calculate Net Interconnector Flow = sum of all available interconnector flow columns (IFA through GREENLINK).

- Plot net interconnector position alongside the average ND ramp profile by settlement period.

- Plot PUMP_STORAGE_PUMPING and NON_BM_STOR by settlement period and season.

- Present as observational co-movement only no causal claims are made.

# 9. Key KPIs & Metrics

## Primary KPIs

| KPI Name | Definition & Source Columns |
| --- | --- |
| Gross Underlying Demand (MW) | ND + EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATIONrepresents true consumer demand before embedded generation offsets it |
| Suppression Volume (MW) | EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATIONthe embedded generation invisible to transmission metering |
| Suppression Ratio (%) | Suppression Volume / Gross Underlying Demand share of true demand met by embedded generation in each period |
| Embedded Wind Capacity Factor (%) | EMBEDDED_WIND_GENERATION / EMBEDDED_WIND_CAPACITYutilisation rate of installed embedded wind capacity |
| Embedded Solar Capacity Factor (%) | EMBEDDED_SOLAR_GENERATION / EMBEDDED_SOLAR_CAPACITYutilisation rate of installed embedded solar capacity |
| Renewable Contribution (%) | Suppression Volume / Gross Underlying Demandshare of total underlying demand served by embedded renewables |
| HalfHourly ND Ramp Rate (MW/30min) | ND(period t) – ND(period t−1)intraday demand rate of change; identifies evening stress windows |
| Peak ND (MW) | MAX(ND)highest transmissionmetered demand, by day/month/season |
| Minimum ND (MW) | MIN(ND)lowest transmissionmetered demand, highlighting potential oversupply risk periods |

## Supporting KPIs

| KPI Name | Definition & Source Columns |
| --- | --- |
| England & Wales Demand Share (%) | ENGLAND_WALES_DEMAND / ND regional contribution to total GB transmission metered demand |
| Net Interconnector Flow (MW) | SUM of IFA_FLOW through GREENLINK_FLOWaggregate net import/export position |
| Pump Storage Pumping (MW) | PUMP_STORAGE_PUMPING scale of pumped storage electricity consumption by period |
| NonBM STOR Volume (MW) | NON_BM_STOR short-term reserve volumes deployed; contextualises balancing needs |
| Average Evening Ramp Rate (MW/30min) | Average ramp rate across settlement periods 32–40 (16:00–20:00) by season |
| Top 10 / Top 20 Ramp Events | Ranked list of largest positive ND ramp rates by date, period, and season |

# 10. Data Used

All data is sourced exclusively from the NESO half hourly electricity outturn dataset. No external data is introduced.

## Core Columns (Required for Primary Analysis)

| Column Name | Role in Analysis |
| --- | --- |
| SETTLEMENT_DATE | Primary date axis used to derive year, month, season, day of week, weekend flag |
| SETTLEMENT_PERIOD | Half hourly time axis (1–48; each period = 30 minutes from 00:00)used to derive time of day and intraday profiles |
| ND | National Demand (MW)transmissionmetered demand; the core metric being analysed. Ramp rate calculated from this column. |
| ENGLAND_WALES_DEMAND | Regional gross demandused to calculate E&W share of total ND and for comparative demandshape views |
| EMBEDDED_WIND_GENERATION | Estimated embedded wind output (MW)used in gross underlying demand, suppression, and capacity factor calculations |
| EMBEDDED_WIND_CAPACITY | Installed embedded wind capacity (MW)denominator for wind capacity factor |
| EMBEDDED_SOLAR_GENERATION | Estimated embedded solar output (MW)used in gross underlying demand, suppression, and capacity factor calculations |
| EMBEDDED_SOLAR_CAPACITY | Installed embedded solar capacity (MW)denominator for solar capacity factor |

## Supporting Columns (Used in Flexibility Context Page)

| Column Name | Role in Analysis |
| --- | --- |
| TSD | Transmission System Demand used as a reference/validation check against ND and gross underlying demand |
| SCOTTISH_TRANSFER | Crossborder flow provides context for Scotland to England power transfer during the flexibility analysis |
| NON_BM_STOR | Non Balancing Mechanism Short Term Operating Reserve flexibility context |
| PUMP_STORAGE_PUMPING | Pumped storage consumption (MW)shows when pump storage is actively charging; overlaid against ramp periods |
| IFA_FLOW – GREENLINK_FLOW | Ten interconnector flow columns summed to calculate net GB interconnector import/export position |

# 11. Calculated Metrics / Derived Fields

## In Power Query (Calculated Columnsat Row Level)

| Derived Field | Formula / Method |
| --- | --- |
| Date Time | SETTLEMENT_DATE + time derived from SETTLEMENT_PERIOD: Period 1 = 00:00, Period 2 = 00:30, … Period 48 = 23:30 |
| Year | Date.Year(SETTLEMENT_DATE) |
| Month Number | Date.Month(SETTLEMENT_DATE) |
| Month Name | Date.MonthName(SETTLEMENT_DATE) |
| Season | DJF = Winter, MAM = Spring, JJA = Summer, SON = Autumnderived from Month Number |
| Day of Week | Date.DayOfWeekName(SETTLEMENT_DATE) |
| Weekend Flag | 1 if Saturday or Sunday, 0 if Weekday |
| Peak Period Flag | 1 if SETTLEMENT_PERIOD between 25 and 38 (12:00–19:00), 0 otherwise |
| Gross Underlying Demand (MW) | ND + EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATION |
| Suppression Volume (MW) | EMBEDDED_WIND_GENERATION + EMBEDDED_SOLAR_GENERATION |
| Net Interconnector Flow (MW) | IFA_FLOW + IFA2_FLOW + BRITNED_FLOW + MOYLE_FLOW + EAST_WEST_FLOW + NEMO_FLOW + NSL_FLOW + ELECLINK_FLOW + VIKING_FLOW + GREENLINK_FLOW |

## In DAX (Explicit Measuresin Power BI)

| Measure Name | DAX Logic Summary |
| --- | --- |
| Suppression Ratio (%) | DIVIDE( SUM(Suppression Volume), SUM(Gross Underlying Demand), 0 ) |
| Wind Capacity Factor (%) | DIVIDE( SUM(EMBEDDED_WIND_GENERATION), SUM(EMBEDDED_WIND_CAPACITY), 0 ) |
| Solar Capacity Factor (%) | DIVIDE( SUM(EMBEDDED_SOLAR_GENERATION), SUM(EMBEDDED_SOLAR_CAPACITY), 0 ) |
| Renewable Contribution (%) | DIVIDE( SUM(Suppression Volume), SUM(Gross Underlying Demand), 0 ) |
| ND Ramp Rate (MW/30min) | ND(current period) – ND(previous period)using OFFSET or EARLIER logic over ordered settlement periods within each day |
| Avg Evening Ramp Rate | AVERAGEX over settlement periods 32–40 of Ramp Rate measure |
| E&W Demand Share (%) | DIVIDE( SUM(ENGLAND_WALES_DEMAND), SUM(ND), 0 ) |
| Avg ND by Period | AVERAGEX filtered to specific settlement periodused for typicalday profile charts |
| Peak ND | MAX(ND)within current filter context |
| Min ND | MIN(ND)within current filter context |
| Net Interconnector Flow (Avg) | AVERAGE(Net Interconnector Flow)positive = net import, negative = net export |

# 12. Analysis Methodology

## Step 1Data Preparation in Power Query

- Load the NESO CSV/Excel file into Power BI via Power Query.

- Set SETTLEMENT_DATE as a Date data type; set SETTLEMENT_PERIOD as a whole number.

- Create the DateTime column by combining SETTLEMENT_DATE with a time calculated from SETTLEMENT_PERIOD (e.g., Time. From(#duration(0, (SETTLEMENT_PERIOD  1) * 0.5, 0, 0))).

- Create all calendar attributes: Year, Month Number, Month Name, Season, Day of Week, Weekend Flag, Peak Period Flag.

- Create Gross Underlying Demand, Suppression Volume, and Net Interconnector Flow as calculated columns.

- Run a data quality check: verify no negative capacity factor values; confirm no null values in key columns; confirm 48 records per day (noting clock change exceptions with 46 or 50 periods).

## Step 2Data Model in Power BI

- Create a separate Date dimension table (using CALENDAR() or CALENDARAUTO()) and link it to the fact table on SETTLEMENT_DATE.

- Create a settlementperiod lookup table (period 1–48 with corresponding time labels) for use in xaxis labels.

- Organise all KPI calculations as explicit DAX measures in a dedicated Measures table (not as implicit aggregations).

- Set the data model as a star schema: fact table + Date dimension + optional Period dimension.

## Step 3Analysis Sequence

- Suppression analysis: profile suppression volume and ratio by settlement period and season.

- Gross vs net demand: compare average gross underlying demand vs ND profiles by settlement period.

- Capacity factor heatmaps: build wind and solar CF heatmaps (settlement period × month).

- Ramp rate analysis: calculate ramp rates, build topramp event table, map distribution by settlement period.

- Flexibility context: overlay net interconnector flow and pump storage against the rampperiod profile.

## Step 4Dashboard Design

- Build five dashboard pages as specified in Section 13.

- Apply consistent colour theme: demand = blue tones, solar = amber, wind = green, ramps = orange/red.

- Add slicers for Year, Season, Month, Day Type on every page.

- Add a Methodology & Limitations page (or callout box on each page) clearly stating data limitations.

# 13. Power BI Dashboard Structure

## Page 1Executive Overview: The Suppression Gap

| Element | Description |
| --- | --- |
| KPI Cards | Peak ND (MW) ¦ Avg Gross Underlying Demand (MW) ¦ Avg Suppression Volume (MW) ¦ Avg Suppression Ratio (%) ¦ Max Evening Ramp Rate (MW/30min) |
| Main Line Chart | Average ND vs Average Gross Underlying Demand by settlement period (1–48)with season slicer to show how gap varies seasonally |
| Area Chart | Embedded wind vs solar generation by settlement period (stacked)shows diurnal profile of each source |
| Bar Chart | England & Wales demand share (%) by month |
| Slicers | Year ¦ Season ¦ Day Type (Weekday / Weekend) |

## Page 2Demand Suppression DeepDive

| Element | Description |
| --- | --- |
| Heatmap | Suppression Volume (MW) by Settlement Period (yaxis) × Month (xaxis)reveals when suppression is highest across the year |
| Line Chart | Suppression Ratio (%) by settlement periodseparate lines per season to compare seasonal suppression intensity |
| Bar Chart | Monthly average suppression volume split: embedded wind vs embedded solar (MW) |
| KPI Cards | Max Suppression Volume (MW) ¦ Avg Suppression Ratio (%) ¦ Renewable Contribution (%) |
| Slicers | Year ¦ Month ¦ Season |

## Page 3Embedded Asset Performance: Capacity Factors

| Element | Description |
| --- | --- |
| Heatmap 1 | Solar Capacity Factor (%) by Settlement Period (yaxis) × Month (xaxis)shows solar’s clear diurnal and seasonal pattern |
| Heatmap 2 | Wind Capacity Factor (%) by Settlement Period (yaxis) × Month (xaxis)shows wind’s continuous but variable contribution |
| DualLine Chart | Avg Wind CF vs Avg Solar CF by settlement periodwith season slicer to compare seasonal profiles |
| KPI Cards | Peak Solar CF (%) ¦ Peak Wind CF (%) ¦ Avg Renewable Contribution (%) |
| Slicers | Season ¦ Year ¦ Day Type |

## Page 4Duck Curve & Ramp Analysis

| Element | Description |
| --- | --- |
| Area / Line Chart | Average ND profile by settlement periodseparate lines per seasonthe main duck curve visualisation |
| Bar Chart | Average positive ramp rate (MW/30min) by settlement periodshows concentration of ramp stress in evening periods |
| Ranked Table | Top 20 ramp events: Date ¦ Settlement Period ¦ Time Label ¦ Ramp Rate (MW) ¦ Season ¦ Day Type |
| KPI Cards | Maximum Ramp Rate (MW/30min) ¦ Avg Evening Ramp Rate (MW/30min) ¦ Peak ND Month |
| Slicers | Season ¦ Year ¦ Day Type |

## Page 5Flexibility Context (Observational)

| Element | Description |
| --- | --- |
| DualAxis Line Chart | Net Interconnector Flow (MW) vs Avg ND Ramp Rate by settlement perioddo imports rise during peak ramp windows? |
| Bar Chart | Pump Storage Pumping (MW) by settlement period and seasonshows when pumped storage is actively consuming electricity |
| Bar Chart | NON_BM_STOR by season and settlement periodreserve deployment context |
| Callout Box | Clear statement: “This page shows observational comovement only. No causal relationships are implied or claimed.” |
| KPI Cards | Avg Net Interconnector Flow (MW) ¦ Avg Pump Storage Pumping (MW) |
| Slicers | Season ¦ Year |

# 14. What Each Dashboard Page Should Answer

| Page | Central Question Answered |
| --- | --- |
| Page 1Executive Overview | How large is the gap between what GB consumers use and what the transmission system records? When is it biggest? |
| Page 2Suppression DeepDive | When and by how much does embedded generation suppress metered demand? Is solar or wind the dominant driver by season? |
| Page 3Asset Performance | How efficiently are embedded wind and solar assets generating across the day and year? When are they most and least productive? |
| Page 4Duck Curve & Ramps | What shape has GB’s residual demand taken? When do the steepest evening ramps occur and how severe are they? |
| Page 5Flexibility Context | When net interconnector imports and pump storage activity rise, does this appear to coincide with peak rampstress periods? |

# 15. Stakeholder Value

| Stakeholder | What They Gain from This Analysis |
| --- | --- |
| Energy Analysts & Forecasters | A data driven view of how embedded generation distorts traditional demand metrics, enabling more accurate interpretation of ND and TSD figures and more realistic demand profiles for modelling. |
| Flexibility & Storage Developers | Quantified evidence of which settlement periods carry the highest ramp stress, supporting decisions on asset siting, dispatch strategies, and flexibility product targeting. |
| Capacity Market Participants | An updated view of when peak residual demand occurs (which embedded solar increasingly shifts away from traditional winter evening peaks). |
| Embedded Generation Asset Managers | Benchmarking of wind and solar capacity factor performance by time period and season, without requiring price or weather data purely operational performance lens. |
| System Operations Teams (NESO) | Visibility of the intraday demand shape and ramp stress patterns that the growing embedded fleet creates for the transmission system. |
| Energy Consultancies & Regulators | A transparent, reproducible analytical framework for understanding how distributed generation is changing GB’s operational profile relevant to network planning and policy discussions. |

# 16. Skills Demonstrated

## Power BI & Technical Skills

- Power Query: Date/time dimension construction from settlement period arithmetic; calculated column derivation; data type management; data quality validation (nulls, negative values, clock change periods).

- DAX Measures: DIVIDE() for ratio measures; AVERAGEX() for profile aggregations; OFFSET/EARLIER window function logic for ramp rate calculation across ordered settlement periods; MAX/MIN for peak identification; conditional measures.

- Data Modelling: Star schema design with fact table, date dimension, and optional period dimension; explicit measure table; relationship management; correct cardinality settings.

- Power BI Visualisation: Heatmaps, dual axis line charts, area charts, bar charts, scatter plots, ranked tables, KPI cards, slicers with Cross filtering; consistent colour theme and typography.

## Energy Domain Knowledge

- Understanding of the GB electricity settlement system: 48 half hourly periods per day, SETTLEMENT_DATE and SETTLEMENT_PERIOD structure.

- Understanding of National Demand (ND) vs Transmission System Demand (TSD) vs gross underlying demand and how embedded generation creates the difference.

- Embedded generation concepts: distribution connected assets, capacity factors, suppression effect on transmission metering.

- Duck curve dynamics: midday solar suppression, evening ramp, operational significance for flexibility and balancing.

- Interconnector and pump storage roles in GB system balancing.

## Analytical Thinking

- KPI framework design: selecting analytically meaningful, data supported metrics rather than surface level aggregates.

- Seasonal and diurnal profiling at half hourly resolution.

- Ramp rate calculation and stress event identification.

- Distinguishing observational patterns from causal claims.

- Honest treatment of data limitations within the analysis.

# 17. Why This Project Is Strong for a Portfolio

- Domain Authenticity. Uses genuine, publicly available NESO data and addresses a real, well documented challenge in GB grid operation. The suppression effect and duck curve are standard vocabulary in UK energy analysis. A hiring manager will recognise this immediately as industry relevant.

- One Coherent Business Story. The project follows a logical narrative arc: embedded generation creates a suppression gap → which produces a duck curve → which creates intraday ramp stress → which demands flexible response. Each dashboard page advances one step in the story, not a disconnected collection of charts.

- Half Hourly Resolution Is Essential, Not Cosmetic. The project genuinely requires half hourly data. Capacity factors, ramp rates, and duck curve dynamics cannot be observed from daily or monthly aggregates. This demonstrates understanding of why granular energy data matters operationally.

- Strictly Self-contained. Uses only the provided NESO dataset. No external data dependencies means the analysis is fully reproducible, scope controlled, and defensible under scrutiny.

- Differentiating for UK Energy Roles. Most Power BI portfolio projects use daily price data, monthly consumption summaries, or retail datasets. A half hourly operational analysis with real system operator data is considerably rarer and more directly relevant to NESO, DNO, energy consultancy, and trading roles.

- Appropriate Complexity Level. The technical complexity is achievable for a beginner to intermediate Power BI user with energy interest. The value comes from domain knowledge and analytical design, not from overengineering with machine learning or complex statistics.

- Uses All 22 Available Columns Purposefully. Rather than using only 6–8 columns (as each individual project did), the combined project gives every NESO column a defined role. This shows data completeness and thoroughness.

- Tells No Lies. All KPIs are validated against available columns. No invented metrics, no unsupported assumptions, no results are proclaimed. The analysis describes what it will investigate, which is honest and professionally credible.

# 18. Data Limitations

These limitations must be acknowledged clearly in the dashboard (e.g., on a Methodology page or in callout boxes).

- Embedded generation figures are estimates, not metered values. EMBEDDED_WIND_GENERATION and EMBEDDED_SOLAR_GENERATION are NESO model estimates derived from registered capacity and modelled profiles. They are not directly metered at distribution level. Analysis reflects NESO’s best available view, not a guaranteed outturn figure.

- Capacity data may lag real installations. EMBEDDED_WIND_CAPACITY and EMBEDDED_SOLAR_CAPACITY represent NESO’s registered view of installed capacity. Rapidly growing solar installations may not be captured promptly, meaning capacity factors in growth periods could be understated.

- Scotland’s embedded generation is not separately isolated. ENGLAND_WALES_DEMAND covers England and Wales only. Scotland’s embedded generation suppression effect is not separately available in the dataset. National level ND includes all of GB but Scottish embedded generation cannot be isolated.

- No causal claims can be made. The dataset supports identification of co-movement patterns (e.g., net interconnector imports tend to be higher during peak ramp periods). It does not support causal statements. All such observations must be framed as correlation or co-movement, not as causation.

- No price, weather, or outage data. No economic conclusions about arbitrage value, flexibility revenues, or cost savings can be drawn. Capacity factor variability cannot be explained through weather causes. Apparent low capacity factors may reflect curtailment, maintenance, or data estimation error rather than poor resource availability.

- Clock change settlement periods. On days when clocks change, the number of settlement periods per day is 46 (spring forward) or 50 (fall back) rather than 48. These days should be identified and handled appropriately (e.g., excluded from typical day profile calculations or flagged in the methodology).

- Historical outturn only. All analysis is retrospective. The dataset does not contain forecast, expected, or projected values. No future looking conclusions can be drawn.